Bpharma

Advanced Pharmaceutical Industries Co. Ltd · Jeddah, Kingdom of Saudi Arabia

Requirements Traceability Matrix

# Requirements Traceability Matrix

| Document Number VAL/LIMS/RTM/001 | Document Type RTM | Version 0.1 DRAFT | Effective Date Pending approval |
| --- | --- | --- | --- |
| System B-Pharma LIMS (desktop edition) | GAMP Category Category 5 — Custom Application |

Note DRAFT. No approval signatures have been applied. Requirement identifiers in this package were created by this package (no approved URS existed); the System Owner must review and approve them. Technical execution recorded here was performed by an AI assistant (Claude); a qualified human reviewer must review the evidence and countersign.

P = directly executed automated test; P* = supported by code reading only; GAP = requirement not met. Every Result is looked up in the executed evidence listed in the VSR; a test that cannot be found is NOT RUN. Machine-readable copy with the executed test ids: RTM.csv. The gate is: node validation/build/check.cjs.

| URS | Pri | FRS | Verification | Result |
| --- | --- | --- | --- | --- |
| URS-001 | Critical | FRS-001 | OQ-01 (P) | Pass |
| URS-002 | Critical | FRS-002 | OQ-01 (P) | Pass |
| URS-003 | Critical | FRS-003 | OQ-01 (P) | Pass |
| URS-004 | High | FRS-004 | OQ-02 (P) | Pass |
| URS-005 | High | FRS-005 | OQ-08 (P) | Pass |
| URS-006 | High | FRS-006 | OQ-08 (P) | Pass |
| URS-007 | High | FRS-007 | OQ-07 (P) | Pass |
| URS-010 | Critical | FRS-008 | OQ-03 (P) | Pass |
| URS-011 | Critical | FRS-004 | OQ-02 (P) | Pass |
| URS-012 | Critical | FRS-009 | OQ-08 (P) | Pass |
| URS-013 | High | FRS-010 | OQ-03 (P) | Pass |
| URS-014 | High | FRS-011 | OQ-03 (P) | Pass |
| URS-020 | Critical | FRS-012 | OQ-04 (P) | Pass |
| URS-021 | Critical | FRS-013 | OQ-06 (P) | Pass |
| URS-022 | High | FRS-014 | OQ-06 (P) | Pass |
| URS-023 | High | FRS-015 | OQ-04 (P) | Pass |
| URS-024 | High | FRS-016 | OQ-04 (P) | Pass |
| URS-030 | Critical | FRS-017 | OQ-05 (P) | Pass |
| URS-031 | Critical | FRS-017, FRS-018 | OQ-05 (P) | Pass |
| URS-032 | Critical | FRS-019 | OQ-05 (P) | Pass |
| URS-033 | High | FRS-020 | OQ-05 (P) | Pass |
| URS-040 | High | FRS-021 | PQ-02 (P) | Pass |
| URS-041 | High | FRS-003, FRS-022 | PQ-02 (P*) | Partial: executed part passes, the rest by reading (DEV-2026-10-25-03) |
| URS-042 | High | FRS-023 | PQ-02 (P) | Pass |
| URS-043 | Medium | FRS-024 | OQ-08 (P*) | Not executed (code review) |
| URS-050 | High | FRS-025 | OQ-09 (P) | Pass |
| URS-060 | High | FRS-100 | OQ-10 (P) | Pass |
| URS-061 | High | FRS-101 | OQ-10 (P) | Pass |
| URS-062 | High | FRS-102 | OQ-10 (P) | Pass |
| URS-063 | High | FRS-100 | OQ-10 (P) | Pass |
| URS-064 | Critical | FRS-103 | OQ-11 (P) | Pass |
| URS-065 | High | FRS-104 | OQ-11 (P) | Pass |
| URS-066 | High | FRS-105 | OQ-11 (P) | Pass |
| URS-067 | High | FRS-106 | OQ-11 (P) | Pass |
| URS-068 | High | FRS-107 | OQ-12 (P) | Pass |
| URS-069 | Critical | FRS-108 | OQ-12 (P) | Pass |
| URS-070 | Critical | FRS-109 | OQ-13 (P) | Pass |
| URS-071 | High | FRS-110 | OQ-13 (P) | Pass |
| URS-072 | High | FRS-111 | OQ-13 (P) | Pass |
| URS-073 | High | FRS-112 | OQ-13 (P) | Pass |
| URS-074 | High | FRS-113 | OQ-14 (P) | Pass |
| URS-075 | Critical | FRS-114 | OQ-14 (P) | Pass |
| URS-076 | Medium | FRS-115 | OQ-14 (P) | Pass |
| URS-077 | High | FRS-116 | OQ-15 (P) | Pass |
| URS-078 | High | FRS-117 | OQ-15 (P) | Pass |
| URS-079 | Medium | FRS-118 | OQ-15 (P) | Pass |
| URS-080 | High | FRS-119 | OQ-16 (P) | Pass |
| URS-081 | High | FRS-120 | OQ-16 (P) | Pass |
| URS-082 | Medium | FRS-121 | OQ-16 (P) | Pass |
| URS-083 | Medium | FRS-122 | OQ-17 (P) | Pass |
| URS-084 | Medium | FRS-123 | OQ-17 (P) | Pass |
| URS-085 | High | FRS-124 | OQ-17 (P) | Pass |
| URS-086 | Critical | FRS-125 | OQ-18 (P) | Pass |
| URS-087 | Critical | FRS-126 | OQ-18 (P) | Pass |
| URS-088 | High | FRS-127 | OQ-18 (P) | Pass |
| URS-089 | High | FRS-128 | OQ-18 (P) | Pass |
| URS-090 | Critical | FRS-129 | OQ-19 (P) | Pass |
| URS-091 | High | FRS-130 | OQ-19 (P) | Pass |
| URS-092 | Medium | FRS-131 | OQ-19 (P) | Pass |
| URS-093 | High | FRS-132 | OQ-20 (P) | Pass |
| URS-094 | High | FRS-133 | OQ-20 (P) | Pass |
| URS-095 | High | FRS-134 | OQ-20 (P) | Pass |
| URS-096 | Critical | FRS-135 | OQ-20 (P) | Pass |
| URS-097 | Critical | FRS-136 | OQ-21 (P) | Pass |
| URS-098 | High | FRS-137 | OQ-21 (P) | Pass |
| URS-099 | High | FRS-138 | OQ-21 (P) | Pass |
| URS-100 | High | FRS-138 | OQ-21 (P) | Pass |
| URS-101 | High | FRS-139 | OQ-22 (P) | Pass |
| URS-102 | High | FRS-140 | OQ-22 (P) | Pass |
| URS-103 | Medium | FRS-141 | OQ-22 (P) | Pass |
| URS-104 | Critical | FRS-142 | OQ-23 (P) | Pass |
| URS-105 | High | FRS-143 | OQ-23 (P) | Pass |
| URS-106 | High | FRS-144 | OQ-23 (P) | Pass |
| URS-107 | High | FRS-145 | OQ-24 (P) | Pass |
| URS-108 | High | FRS-146 | OQ-24 (P) | Pass |
| URS-109 | High | FRS-147 | OQ-25 (P) | Pass |
| URS-110 | High | FRS-148 | OQ-25 (P) | Pass |
| URS-111 | Medium | FRS-149 | OQ-26 (P) | Pass |
| URS-112 | Medium | FRS-150 | OQ-27 (P) | Pass |
| URS-113 | Medium | FRS-151 | OQ-27 (P) | Pass |
| URS-114 | Critical | FRS-152 | OQ-28 (P) | Pass |
| URS-115 | High | FRS-153 | OQ-28 (P) | Pass |
| URS-116 | High | FRS-154 | OQ-29 (P) | Pass |
| URS-117 | High | FRS-155 | OQ-29 (P) | Pass |
| URS-119 | Medium | FRS-157 | OQ-17 (GAP) | NOT MET (DEV-2026-10-25-06) |
| URS-118 | High | FRS-156 | OQ-30 (P) | Pass |
| URS-120 | High | FRS-200 | OQ-31 (P) | Pass |
| URS-121 | High | FRS-201 | OQ-31 (P) | Pass |
| URS-122 | Medium | FRS-202 | OQ-31 (P) | Pass |
| URS-123 | Medium | FRS-203 | OQ-31 (P) | Pass |
| URS-124 | Critical | FRS-210 | OQ-32 (P) | Pass |
| URS-125 | High | FRS-211 | OQ-32 (P) | Pass |
| URS-126 | High | FRS-212 | OQ-32 (P) | Pass |
| URS-127 | High | FRS-213 | OQ-32 (P) | Pass |
| URS-128 | Critical | FRS-214 | OQ-32 (P) | Pass |
| URS-129 | High | FRS-215 | OQ-32 (P) | Pass |
| URS-130 | High | FRS-220 | OQ-33 (P) | Pass |
| URS-131 | High | FRS-221 | OQ-33 (P) | Pass |
| URS-132 | Critical | FRS-222 | OQ-33 (P) | Pass |
| URS-133 | High | FRS-230 | OQ-34 (P) | Pass |
| URS-134 | Medium | FRS-231 | OQ-34 (P) | Pass |
| URS-135 | Medium | FRS-232 | OQ-34 (P) | Pass |
| URS-136 | High | FRS-240 | OQ-35 (P) | Pass |
| URS-137 | High | FRS-241 | OQ-35 (P) | Pass |
| URS-138 | Critical | FRS-242 | OQ-35 (P) | Pass |
| URS-139 | Medium | FRS-243 | OQ-35 (P*) | Partial: executed part passes, the rest by reading (DEV-2026-10-26-05) |
| URS-140 | Critical | FRS-250 | OQ-36 (P) | Pass |
| URS-141 | High | FRS-251 | OQ-36 (P) | Pass |
| URS-142 | High | FRS-252 | OQ-36 (P*) | Pass (smoke run) - P* |
| URS-143 | High | FRS-253 | OQ-37 (P) | Pass |
| URS-144 | High | FRS-254 | OQ-37 (GAP) | NOT MET (DEV-2026-10-26-02) |
| URS-145 | Medium | FRS-255 | OQ-36 (P) | Pass |

# Approval

| Role | Name / Title | Signature | Date |
| --- | --- | --- | --- |
| Prepared by (Validation) |  |  |  |
| Reviewed by (System Owner) |  |  |  |
| Reviewed by (QA) |  |  |  |
| Approved by (QA Head) |  |  |  |